

**Specification**

**MODEL : MICROSON PLUS**

**(BASE:RUBBING HIFU,**

**MICROSON DUAL)**

**PART : H/P SYSTEM HARNESS**

REV0 : PP 30대 기준

**REV100 : 2019년 07월 30일(4, 5페이지 : 3262-E9900226, 3262-EWR21101 길이 수정)**

**(생산기술팀 PP 후 개선사항 반영)**

작성 : 박창훈

수정 : 이정우

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| * **케이블 길이 1500 mm는 커넥터 몰드에서 몰드까지의 거리입니다.** * **RF CABLE 제외한 나머지 케이블 굵기 24 AWG** * **CPM PLUG는 은성 전용 커넥터 적용** | | | | | | | |
| **HISTORY**  **X COUNT** | **DATA** | **REVISION** | **SING** | **USED ON** | | **RANK** | |
| **6** |  |  |  | **UNIT 1** | |
| **5** |  |  |  | **MODEL** | **MICROSON PLUS** | | |
| **4** |  |  |  | **PART NO** |  | | |
| **3** |  |  |  | **DESCRIPTION : RUBBING H/P CABLE** | | | |
| **2** |  |  |  | **DRAWN** | | | **APPROVED** |
| **1** |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | |
| **HISTORY**  **X COUNT** | **DATA** | **REVISION** | **SING** | **USED ON** | | **RANK** | |
| **6** |  |  |  | **UNIT 1** | |
| **5** |  |  |  | **MODEL** | **MICROSON PLUS** | | |
| **4** |  |  |  | **PART NO** |  | | |
| **3** |  |  |  | **DESCRIPTION : LINE H/P CABLE** | | | |
| **2** |  |  |  | **DRAWN** | | | **APPROVED** |
| **1** |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| * **케이블 길이는 CPM-8R(은성전용) 땜면 끝에서 커넥터 끝까지의 거리입니다.** * **납땜면은 몰드 적용하지 않습니다.** | | | | | | | |
| **HISTORY**  **X COUNT** | **DATA** | **REVISION** | **SING** | **USED ON** | | **RANK** | |
| **6** |  |  |  | **UNIT 1** | |
| **5** |  |  |  | **MODEL** | **MICROSON PLUS** | | |
| **4** |  |  |  | **PART NO** |  | | |
| **3** |  |  |  | **DESCRIPTION : RUBBING H/P CABLE** | | | |
| **2** |  |  |  | **DRAWN** | | | **APPROVED** |
| **1** |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | |
| **HISTORY**  **X COUNT** | **DATA** | **REVISION** | **SING** | **USED ON** | | **RANK** | |
| **6** |  |  |  | **UNIT 1** | |
| **5** |  |  |  | **MODEL** | **MICROSON PLUS** | | |
| **4** |  |  |  | **PART NO** |  | | |
| **3** |  |  |  | **DESCRIPTION : RUBBING H/P CABLE** | | | |
| **2** |  |  |  | **DRAWN** | | | **APPROVED** |
| **1** |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **에폭시 작업** | | | | | | | |
| **HISTORY**  **X COUNT** | **DATA** | **REVISION** | **SING** | **USED ON** | | **RANK** | |
| **6** |  |  |  | **UNIT 1** | |
| **5** |  |  |  | **MODEL** | **MICROSON PLUS** | | |
| **4** |  |  |  | **PART NO** |  | | |
| **3** |  |  |  | **DESCRIPTION : SYSTEM SOCKET CABLE(좌)** | | | |
| **2** |  |  |  | **DRAWN** | | | **APPROVED** |
| **1** |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **에폭시 작업** | | | | | | | |
| **HISTORY**  **X COUNT** | **DATA** | **REVISION** | **SING** | **USED ON** | | **RANK** | |
| **6** |  |  |  | **UNIT 1** | |
| **5** |  |  |  | **MODEL** | **MICROSON PLUS** | | |
| **4** |  |  |  | **PART NO** |  | | |
| **3** |  |  |  | **DESCRIPTION : SYSTEM SOCKET CABLE(우)** | | | |
| **2** |  |  |  | **DRAWN** | | | **APPROVED** |
| **1** |  |  |  |