## Pin-map_HIFU_HP4_V3.0
Rubbing HIFU Block Diagram V1.0
[6 empty] | JTAG2 |  | HD1 |  |  |  | HD1 |  |  |  | HD4 |  |  |  | HD1 | [5 empty] | RF_OUT1
[6 empty] | YDW200-06P |  | RF_QR_IN | 1 | PW_IS_CT | 2 | 1 | RF_QR_IN | 2 | PW_IS_CT | GND | 1 | GND | 2 | 1 | GND | 2 | GND |  |  | SMA-R-R/A(BNC)
[6 empty] | 1 | 3_3V | BIAS_ON | 3 | VDC_OUT | 4 | 3 | BIAS_ON | 4 | VDC_OUT | GND | 3 | GND | 4 | 3 | GND | 4 | GND |  |  | HIFU_LINE | 1
[6 empty] | 2 | SCI_RXA | TIM8_OC_IN | 5 | VDC_IN | 6 | 5 | TIM8_OC_IN | 6 | VDC_IN | - | 5 | - | 6 | 5 | - | 6 | - |  |  | GND | 2
[6 empty] | 3 | BOOT0 | PW_PWM | 7 | FW_CT | 8 | 7 | PW_PWM | 8 | FW_CT | - | 7 | - | 8 | 7 | - | 8 | -
[6 empty] | 4 | SCI_TXA | PRE_AMP_ENA | 9 | FET_TEMP | 10 | 9 | PRE_AMP_ENA | 10 | FET_TEMP | - | 9 | - | 10 | 9 | - | 10 | - |  |  | RF_OUT2
[6 empty] | 5 | GND | PUMP_PULSE_A | 11 | - | 12 | 11 | PUMP_PULSE | 12 | - | - | 11 | - | 12 | 11 | - | 12 | - |  |  | SMA-R-R/A(BNC)
[6 empty] | 6 | NRST | PUMP_ON | 13 | PW_I_REF | 14 | 13 | PUMP_ON | 14 | PW_I_REF | - | 13 | - | 14 | 13 | - | 14 | - |  |  | HIFU_FACE | 1
[8 empty] | BRAKE | 15 | CHILER_ON | 16 | 15 | BRAKE | 16 | CHILER_ON | - | 15 | - | 16 | 15 | - | 16 | - |  |  | GND | 2
[6 empty] | CN102 |  | PUMP_DIR | 17 | FT_7M_RY_ON | 18 | 17 | PUMP_DIR | 18 | FT_7M_RY_ON | - | 17 | - | 18 | 17 | - | 18 | -
[6 empty] | 5267-2P |  | - | 19 | FT_4M_RY_ON | 20 | 19 | - | 20 | FT_4M_RY_ON | RF_OUT | 19 | RF_OUT | 20 | 19 | RF_Q_IN | 20 | RF_Q_IN |  |  | RF_OUT3
[6 empty] | 1 | FOOT_SW | - | 21 | FT_2M_RY_ON | 22 | 21 | - | 22 | FT_2M_RY_ON | [10 empty] | SMA-R-R/A(BNC)
[6 empty] | 2 | GND | - | 23 | RF_A_RY_ON | 24 | 23 | - | 24 | RF_A_RY_ON | HD5 |  |  |  | HD2 | [5 empty] | HIFU_BODY1 | 1
[8 empty] | C_FAN_ON | 25 | RF_B_RY_ON | 26 | 25 | C_FAN_ON | 26 | RF_B_RY_ON | RY_HL2_7M | 1 | RY_HL2_7M | 2 | 1 | RY_HL2_7M | 2 | RY_HL2_7M |  |  | GND | 2
|  |  |  | CONN4 |  | CN101 |  | VALVE_ON_1 | 27 | RF_C_RY_ON | 28 | 27 | VALVE_ON_1 | 28 | RF_C_RY_ON | RY_HL2_4M | 3 | RY_HL2_4M | 4 | 3 | RY_HL2_4M | 4 | RY_HL2_4M
|  | CONN5 |  | 12505WR-3P |  | 5267-3P |  | VALVE_ON_2 | 29 | RF_D_RY_ON | 30 | 29 | VALVE_ON_2 | 30 | RF_D_RY_ON | RY_HL2_2M | 5 | RY_HL2_2M | 6 | 5 | RY_HL2_2M | 6 | RY_HL2_2M |  |  | RF_OUT4
|  | 12505WR-02 |  | 1 | TXD_LCD | 1 | TXD_LCD | GND | 31 | GND | 32 | 31 | GND | 32 | GND | RY_HL2_A | 7 | RY_HL2_A | 8 | 7 | RY_HL2_A | 8 | RY_HL2_A |  |  | SMA-R-R/A(BNC)
|  | 1 | Line+ | 2 | RXD_LCD | 2 | RXD_LCD | [8 empty] | RY_HL2_B | 9 | RY_HL2_B | 10 | 9 | RY_HL2_B | 10 | RY_HL2_B |  |  | HIFU_BODY2 | 1
|  | 2 | Line- | 3 | GND | 3 | GND |  |  | FAN1 | [5 empty] | RY_HL2_C | 11 | RY_HL2_C | 12 | 11 | RY_HL2_C | 12 | RY_HL2_C |  |  | GND | 2
[10 empty] | 5267-2P | [5 empty] | RY_HL2_D | 13 | RY_HL2_D | 14 | 13 | RY_HL2_D | 14 | RY_HL2_D
|  | CON703 | [7 empty] | +12V | 1 |  |  |  |  | GND | 15 | GND | 16 | 15 | GND | 16 | GND
CON601 |  | Micro USB 5P |  | CON1101 |  | CN106 |  |  |  | FAN_PWM | 2 |  |  |  |  | GND | 17 | GND | 18 | 17 | GND | 18 | GND
MOLEX5267-4P |  | 1 | USB_5V | 12505WR-4P |  | MX35313-2P | [9 empty] | FW_CT | 19 | FW_CT | 20 | 19 | FW_CT | 20 | FW_CT
1 | USB_5V | 2 | DM | 1 | +12V | 1 | +12V |  |  | FAN2
2 | DM | 3 | DP | 2 | +12V | 2 | GND |  |  | 5267-2P
3 | DP | 4 | ID | 3 | GND |  |  |  |  | +12V | 1 | [18 empty] | SV1
4 | GND | 5 | GND | 4 | GND |  |  |  |  | FAN_PWM | 2 |  |  |  |  | HD2 |  |  |  | HD1 | [9 empty] | MOLEX5267-4P
[16 empty] | +48V | 1 | +48V | 2 | 1 | +48V | 2 | +48V |  |  | CN204 |  | CN601 |  | +12V | 1
|  |  |  | CON701 |  | CN108 |  |  |  | FAN3 | [5 empty] | +48V | 3 | +48V | 4 | 3 | +48V | 4 | +48V |  |  | MOLEX5267-10P |  | MOLEX5267-10P |  | +12V | 2
|  |  |  | 5267-4P |  | 5267-4P |  |  |  | 5267-2P | [5 empty] | - | 5 | - | 6 | 5 | - | 6 | - |  |  | PUMP_BRAKE | 1 | PUMP_BRAKE | 1 | VALVE_DR1 | 3
|  |  |  | 1 | +12V | 1 | +12V |  |  | +12V | 1 |  |  |  |  | GND | 7 | GND | 8 | 7 | GND | 8 | GND |  |  | PUMP_DR | 2 | PUMP_DR | 2 | VALVE_DR2 | 4
|  |  |  | 2 | BLUE | 2 | LCD_BLUE |  |  | FAN_PWM | 2 |  |  |  |  | GND | 9 | GND | 10 | 9 | GND | 10 | GND |  |  | GND | 3 | GND | 3
|  |  |  | 3 | RED | 3 | LCD_RED | [8 empty] | - | 11 | - | 12 | 11 | - | 12 | - |  |  | PUMP_HL_DIR | 4 | PUMP_HL_DIR | 4 | SV2
|  |  |  | 4 | GND | 4 | GND | HP1 | [7 empty] | PUMP_BRAKE | 13 | PUMP_BRAKE | 14 | 13 | PUMP_BRAKE | 14 | PUMP_BRAKE |  |  | PUMP_PULSE | 5 | PUMP_PULSE | 5 | MOLEX5267-4P
[8 empty] | SHOT_SW_A | 1 | HP_OK_A | 2 |  |  |  |  | PUMP_DR | 15 | PUMP_DR | 16 | 15 | PUMP_DR | 16 | PUMP_DR |  |  | +12V | 6 | +12V | 6 | +12V | 1
[6 empty] | CN109 |  | KART_CHK_A | 3 | - | 4 |  |  |  |  | PUMP_HL_DIR | 17 | PUMP_HL_DIR | 18 | 17 | PUMP_HL_DIR | 18 | PUMP_HL_DIR |  |  | C_FAN_DR | 7 | C_FAN_DR | 7 | +12V | 2
[6 empty] | MX35313-2P |  | HALL_SW_A | 5 | AA5V | 6 |  |  |  |  | PUMP_PULSE | 19 | PUMP_PULSE | 20 | 19 | PUMP_PULSE | 20 | PUMP_PULSE |  |  | +12V | 8 | +12V | 8 | VALVE_DR1 | 3
[6 empty] | 1 | +12V | TXD_ACT_A | 7 | CABLE_SDA_A | 8 | [14 empty] | VALVE_DR1 | 9 | VALVE_DR1 | 9 | VALVE_DR2 | 4
[6 empty] | 2 | LOGO_LED | RXD_ACT_A | 9 | CABLE_SCL_A | 10 |  |  |  |  | HD3 |  |  |  | HD2 | [5 empty] | VALVE_DR2 | 10 | VALVE_DR2 | 10
[8 empty] | AA12V | 11 | GND | 12 |  |  |  |  | C_FAN_DR | 1 | C_FAN_DR | 2 | 1 | C_FAN_DR | 2 | C_FAN_DR
[8 empty] | AA12V | 13 | GND | 14 |  |  |  |  | VALVE_DR1 | 3 | VALVE_DR1 | 4 | 3 | VALVE_DR1 | 4 | VALVE_DR1 |  |  |  |  | FAN601 |  | FAN602
[16 empty] | VALVE_DR2 | 5 | VALVE_DR2 | 6 | 5 | VALVE_DR2 | 6 | VALVE_DR2 |  |  |  |  | MOLEX5267-2P |  | MOLEX5267-2P
[8 empty] | HP2 | [7 empty] | MM12V | 7 | MM12V | 8 | 7 | +12V | 8 | +12V |  |  |  |  | +12V | 1 | +12V | 1
[8 empty] | SHOT_SW_B | 1 | HP_OK_B | 2 |  |  |  |  | GND | 9 | GND | 10 | 9 | GND | 10 | GND |  |  |  |  | C_FAN_DR | 2 | C_FAN_DR | 2
[8 empty] | KART_CHK_B | 3 | - | 4 |  |  |  |  | - | 11 | - | 12 | 11 | - | 12 | -
[8 empty] | HALL_SW_B | 5 | BB5V | 6 |  |  |  |  | - | 13 | - | 14 | 13 | - | 14 | - |  |  |  |  | FAN603 |  | FAN604
[8 empty] | TXD_ACT_B | 7 | CABLE_SDA_B | 8 |  |  |  |  | CHILER_DR | 15 | CHILER_DR | 16 | 15 | CHILER_DR | 16 | CHILER_DR |  |  |  |  | MOLEX5267-2P |  | MOLEX5267-2P
[8 empty] | RXD_ACT_B | 9 | CABLE_SCL_B | 10 |  |  |  |  | CHILER_DR | 17 | CHILER_DR | 18 | 17 | CHILER_DR | 18 | CHILER_DR |  |  |  |  | +12V | 1 | +12V | 1
[8 empty] | BB12V | 11 | GND | 12 |  |  |  |  | CHILER_DR | 19 | CHILER_DR | 20 | 19 | CHILER_DR | 20 | CHILER_DR |  |  |  |  | C_FAN_DR | 2 | C_FAN_DR | 2
[8 empty] | BB12V | 13 | GND | 14
TB602
[8 empty] | HP3 | [21 empty] | BR950-3P
[8 empty] | SHOT_SW_C | 1 | HP_OK_C | 2 |  |  | CN3 |  | CN2 |  |  |  | CN201 | [9 empty] | +24V | 1
[8 empty] | CABLE_SDA_C | 3 | CABLE_SCL_C | 4 |  |  | MOLEX-35313-2P |  | MOLEX-35313-3P |  |  |  | MOLEX-35313-3P | [9 empty] | - | 2
[8 empty] | GND | 5 | CC12V | 6 |  |  | 1 | KEY SW IN | L | 1 |  |  | 1 | +48V | [8 empty] | CHILER_DR | 3
[8 empty] | - | 7 | - | 8 |  |  | 2 | KEY SW OUT | - | 2 |  |  | 2 | - |  |  | CN203 |  |  |  | TB601
[8 empty] | SHOT_SW_D | 9 | HP_OK_D | 10 |  |  |  |  | N | 3 |  |  | 3 | GND |  |  | MX5569-04P |  |  |  | BR950-2P |  | TB603
[8 empty] | CABLE_SDA_D | 11 | CABLE_SCL_D | 12 |  |  | CN3 | [9 empty] | +24V | 1 | CHILER_DR | 2 | +24V | 1 | BR950-3P
[8 empty] | GND | 13 | DD12V | 14 |  |  | MOLEX-35313-2P |  | TB2 |  |  |  | CN202 |  |  |  | +24V | 3 | CHILER_DR | 4 | CHILER_DR | 2 | +24V | 1
[14 empty] | 1 | E-STOP SW IN | BR950-2P |  |  |  | MOLEX-35313-5P | [9 empty] | - | 2
[10 empty] | CN105 |  |  |  | 2 | E-STOP SW OUT | L | 1 |  |  | 1 | +24V | [8 empty] | CHILER_DR | 3
[10 empty] | MX35313-2P | [5 empty] | N | 2 |  |  | 2 | +24V
[10 empty] | +12V | 1 |  |  | CN1 | [5 empty] | 3 | - | [8 empty] | TB604
[10 empty] | GND | 2 |  |  | MOLEX-35313-3P |  | TB1 |  |  |  | 4 | GND | [8 empty] | BR950-3P
[14 empty] | 1 | L | BR950-3P |  |  |  | 5 | GND | [8 empty] | +24V | 1
[14 empty] | 2 | - | L | 1 | [12 empty] | - | 2
[10 empty] | CN103 |  |  |  | 3 | N | N | 2 | [12 empty] | CHILER_DR | 3
[10 empty] | 5267-3P | [5 empty] | FG | 3
[10 empty] | F_5V | 1 | [18 empty] | CN602
[10 empty] | GND | 2 | [18 empty] | MOLEX5267-6P
[10 empty] | FLOW_SENSOR | 3 | [18 empty] | PUMP_BRAKE | 1
[30 empty] | PUMP_DR | 2
[10 empty] | CN104 | [19 empty] | GND | 3
[10 empty] | 5267-3P | [19 empty] | PUMP_HL_DIR | 4
[10 empty] | WATER_LV1 | 1 | [18 empty] | PUMP_PULSE | 5
[10 empty] | WATER_LV2 | 2 | [18 empty] | +12V | 6
[10 empty] | GND | 3
CN107
5267-2P
[10 empty] | CS_TEMP | 1
[10 empty] | GND | 2
BGWP365012
(PUMP)
DC12V
PWR
CPU
FOOT
S/W
FAN 1
(PWR)
FAN 2
(PWR)
LCD 10.2 inch
(ForStech)
LCD
LED
SMPS 48V
(MDS-300APB48)
CT Block
LOGO LED
FLT
FLOW SENSOR
()
WATER TANK
(water level sensor)
PCN
DC/DC
(LM2576HV-12)
DC 12V→9V
(7809AF)
+9V
+12V
SS48V
+12V
CHILER
CL500 LF- Modify
H/P B
(FACE)
H/P A
(LINE)
H/P C
(BODY)
3WHP-TB2
(SPDT S/V
(DC12V)
WXC 240W
(Peltier+FAN)
DC12V 12.5A
H/P D
(BODY)
H/P B
(FACE)
H/P A
(LINE)
H/P C
(BODY)
H/P D
(BODY)
SMPS 24V
(MDS-400APB24)
3WHP-TB2
(SPDT S/V)
(DC12V)
CHILER IO
RF Needle
USB
Speaker
INLET
(DD11.0124.110)
SMPS 12V
(MDS-100BPS12)

## HP
HIFU OUT+
| HIFU OUT- | [5 empty] | 엑츄에이터 연결
CN604
| HD1 |  |  |  | CN601 |  | 1 | TXD_SER
| HIF_SHOT_SW | 1 | HIF_HP_SW | 2 | 1 | +12V | 2 | RXD_SER
| HIF_CART_SW | 3 | - | 4 | 2 | +12V | 3 | +7V
| HIF_HALL_SW | 5 | DC5V | 6 | 3 | DC5V | 4 | GND
| TXD_ACT | 7 | CABLE_SDA | 8 | 4 | GND
| RXD_ACT | 9 | CABLE_SCL | 10 | 5 | GND | LED PCB 연결
| H12V | 11 | GND | 12 |  |  | HD2
| H12V | 13 | GND | 14 | CN602 |  | 1 | RED1 | 2 | +5V
[5 empty] | 1 | TXD_ACT | 3 | RED2 | 4 | -
1 | HIF_SHOT_SW | Shot S/W input |  |  | 2 | RXD_ACT | 5 | BLUE1 | 6 | GND
2 | HIF_CART_SW | Cart indicator |  |  | 3 | CABLE_SDA | 7 | BLUE2 | 8 | GND
3 | HIF_HP_SW | HP Cable 연결 detact |  |  | 4 | CABLE_SCL
4 | CABLE_SDA | EEPROM/IO Expandor 통신 |  |  |  |  | Kartridge
5 | CABLE_SCL | EEPROM/IO Expandor 통신 |  |  | CN603 |  | HD1
6 | H12V |  |  |  | 1 | SHOT_SW | 1 | EP_SCL | 2 | DC5V
7 | DC5V |  |  |  | 2 | KART_CHK | 3 | EP_SDA | 4 | +5V
8 | GND |  |  |  | 3 | HALL_CHK | 5 | KART_CHK | 6 | GND
9 | HIFU OUT+ |  |  |  | 4 | GND | 7 | SEN_POS | 8 | GND
10 | HIFU OUT-
5 | HIF_HALL_SW | Cart actuator 위치 check
7 | TXD_ACT | Actuator 통신
9 | RXD_ACT | Actuator 통신
13 | H12V
14 | GND
4 | -
I2C Buffer
(P82B96)
TXD_SER
RXD_SER
EP_SCL
EP_SDA
CABLE_SCL
CABLE_SDA
TXD_ACT
RXD_ACT
+12V
HALL_CHK
BJT
I/O Expandor
(PCF8574AT)
2-wire serial bus extender
(PCA9507D)
+5V
+5V
LED S/W
SEN_POS
I2C Buffer
(P82B96)
+12V
DC/DC
(78L05F)
+12V
+5V
DC/DC
(LD29150PT)
+7V

## Check
Review Data
전원 Key type
Push 버튼인 경우, LSW PCB 필요함.
Key S/W인 경우, LSW PCB 필요없음.
전원 분리 : HIFU 장비는 인체에 직접 접촉되지 않기 때문에 필요 없음.
LED PCB 필요 부분
Foot S/W 지원 여부